## Sheet1
Matrix | Process | Ratio | Parameter | Unit | Initial Value | Removal (%) | Residual Value
Textile Effluent | Fenton | 10 | Colour | Pt. Co. | 3462 | 73.02 | 934.0476
Textile Effluent | Fenton | 10 | Turbidity | NTU | 554 | 70.32 | 164.4272
Textile Effluent | Fenton | 10 | Total Dissolved Solid | mg/l | 2410 | 5.35 | 2281.065
Textile Effluent | Fenton | 10 | Total Suspended Solid | mg/l | 632 | 55.76 | 279.5968
Textile Effluent | Fenton | 10 | Total Solids | mg/l | 3042 | 5.58 | 2872.256
Textile Effluent | Fenton | 10 | Chloride | mg/l | 299.91 | 9.21 | 272.2883
Textile Effluent | Fenton | 10 | Sulphate | mg/l | 295 | -1.82 | 300.369
Textile Effluent | Fenton | 10 | Chemical Oxygen Demand | mg/l | 4800 | 9.09 | 4363.68
Textile Effluent | Fenton | 10 | Ammoniacal Nitrogen | mg/l | 8.44 | 25.17 | 6.3157
Textile Effluent | Fenton | 10 | Nitrate | mg/l | 101.8 | 12.15 | 89.4313
Textile Effluent | Fenton | 20 | Colour | Pt. Co. | 3462 | 73.58 | 914.6604
Textile Effluent | Fenton | 20 | Turbidity | NTU | 554 | 71.28 | 159.1088
Textile Effluent | Fenton | 20 | Total Dissolved Solid | mg/l | 2410 | 8.29 | 2210.211
Textile Effluent | Fenton | 20 | Total Suspended Solid | mg/l | 632 | 61.32 | 244.4576
Textile Effluent | Fenton | 20 | Total Solids | mg/l | 3042 | 8.53 | 2782.517
Textile Effluent | Fenton | 20 | Chloride | mg/l | 299.91 | 11.05 | 266.7699
Textile Effluent | Fenton | 20 | Sulphate | mg/l | 295 | -2.26 | 301.667
Textile Effluent | Fenton | 20 | Chemical Oxygen Demand | mg/l | 4800 | 26.65 | 3520.8
Textile Effluent | Fenton | 20 | Ammoniacal Nitrogen | mg/l | 8.44 | 56.2 | 3.6967
Textile Effluent | Fenton | 20 | Nitrate | mg/l | 101.8 | 31.89 | 69.336
Textile Effluent | Fenton | 30 | Colour | Pt. Co. | 3462 | 74.11 | 896.3118
Textile Effluent | Fenton | 30 | Turbidity | NTU | 554 | 83.62 | 90.7452
Textile Effluent | Fenton | 30 | Total Dissolved Solid | mg/l | 2410 | 39.31 | 1462.629
Textile Effluent | Fenton | 30 | Total Suspended Solid | mg/l | 632 | 72.49 | 173.8632
Textile Effluent | Fenton | 30 | Total Solids | mg/l | 3042 | 39.46 | 1841.627
Textile Effluent | Fenton | 30 | Chloride | mg/l | 299.91 | 20.74 | 237.7087
Textile Effluent | Fenton | 30 | Sulphate | mg/l | 295 | -2.22 | 301.549
Textile Effluent | Fenton | 30 | Chemical Oxygen Demand | mg/l | 4800 | 31.97 | 3265.44
Textile Effluent | Fenton | 30 | Ammoniacal Nitrogen | mg/l | 8.44 | 73.09 | 2.2712
Textile Effluent | Fenton | 30 | Nitrate | mg/l | 101.8 | 49.51 | 51.3988
Dye Intermediate | Fenton | 10 | Colour | Pt. Co. | 1090 | 72.05 | 304.655
Dye Intermediate | Fenton | 10 | Turbidity | NTU | 188 | 98.8 | 2.256
Dye Intermediate | Fenton | 10 | Total Dissolved Solid | mg/l | 3250 | 2.51 | 3168.425
Dye Intermediate | Fenton | 10 | Total Suspended Solid | mg/l | 146 | 75.41 | 35.9014
Dye Intermediate | Fenton | 10 | Total Solids | mg/l | 3396 | 3.33 | 3282.913
Dye Intermediate | Fenton | 10 | Chloride | mg/l | 499.85 | 54.89 | 225.4823
Dye Intermediate | Fenton | 10 | Sulphate | mg/l | 608 | -0.46 | 610.7968
Dye Intermediate | Fenton | 10 | Chemical Oxygen Demand | mg/l | 8800 | 89.95 | 884.4
Dye Intermediate | Fenton | 10 | Ammoniacal Nitrogen | mg/l | 34 | 71.71 | 9.6186
Dye Intermediate | Fenton | 10 | Nitrate | mg/l | 608.8 | 24.21 | 461.4095
Dye Intermediate | Fenton | 20 | Colour | Pt. Co. | 1090 | 72.37 | 301.167
Dye Intermediate | Fenton | 20 | Turbidity | NTU | 188 | 98.17 | 3.4404
Dye Intermediate | Fenton | 20 | Total Dissolved Solid | mg/l | 3250 | 45.27 | 1778.725
Dye Intermediate | Fenton | 20 | Total Suspended Solid | mg/l | 146 | 90.81 | 13.4174
Dye Intermediate | Fenton | 20 | Total Solids | mg/l | 3396 | 45.78 | 1841.311
Dye Intermediate | Fenton | 20 | Chloride | mg/l | 499.85 | 70.29 | 148.5054
Dye Intermediate | Fenton | 20 | Sulphate | mg/l | 608 | -1.56 | 617.4848
Dye Intermediate | Fenton | 20 | Chemical Oxygen Demand | mg/l | 8800 | 91.87 | 715.44
Dye Intermediate | Fenton | 20 | Ammoniacal Nitrogen | mg/l | 34 | 81.4 | 6.324
Dye Intermediate | Fenton | 20 | Nitrate | mg/l | 608.8 | 34.34 | 399.7381
Dye Intermediate | Fenton | 30 | Colour | Pt. Co. | 1090 | 76.18 | 259.638
Dye Intermediate | Fenton | 30 | Turbidity | NTU | 188 | 98.5 | 2.82
Dye Intermediate | Fenton | 30 | Total Dissolved Solid | mg/l | 3250 | 49.43 | 1643.525
Dye Intermediate | Fenton | 30 | Total Suspended Solid | mg/l | 146 | 92.6 | 10.804
Dye Intermediate | Fenton | 30 | Total Solids | mg/l | 3396 | 49.92 | 1700.717
Dye Intermediate | Fenton | 30 | Chloride | mg/l | 499.85 | 75.15 | 124.2127
Dye Intermediate | Fenton | 30 | Sulphate | mg/l | 608 | -2.86 | 625.3888
Dye Intermediate | Fenton | 30 | Chemical Oxygen Demand | mg/l | 8800 | 97.89 | 185.68
Dye Intermediate | Fenton | 30 | Ammoniacal Nitrogen | mg/l | 34 | 88.06 | 4.0596
Dye Intermediate | Fenton | 30 | Nitrate | mg/l | 608.8 | 41.13 | 358.4006
Textile Effluent | Photo-Fenton | 10 | Colour | Pt. Co. | 3462 | 28.88 | 2462.174
Textile Effluent | Photo-Fenton | 10 | Turbidity | NTU | 554 | 32.65 | 373.119
Textile Effluent | Photo-Fenton | 10 | Total Dissolved Solid | mg/l | 2410 | 65.87 | 822.533
Textile Effluent | Photo-Fenton | 10 | Total Suspended Solid | mg/l | 632 | 81.97 | 113.9496
Textile Effluent | Photo-Fenton | 10 | Total Solids | mg/l | 3042 | 66.19 | 1028.5
Textile Effluent | Photo-Fenton | 10 | Chloride | mg/l | 299.91 | 57.82 | 126.502
Textile Effluent | Photo-Fenton | 10 | Sulphate | mg/l | 295 | -0.65 | 296.9175
Textile Effluent | Photo-Fenton | 10 | Chemical Oxygen Demand | mg/l | 4800 | 22.35 | 3727.2
Textile Effluent | Photo-Fenton | 10 | Ammoniacal Nitrogen | mg/l | 8.44 | 47.67 | 4.4167
Textile Effluent | Photo-Fenton | 10 | Nitrate | mg/l | 101.8 | 28.14 | 73.1535
Textile Effluent | Photo-Fenton | 20 | Colour | Pt. Co. | 3462 | 42.76 | 1981.649
Textile Effluent | Photo-Fenton | 20 | Turbidity | NTU | 554 | 56.43 | 241.3778
Textile Effluent | Photo-Fenton | 20 | Total Dissolved Solid | mg/l | 2410 | 70.2 | 718.18
Textile Effluent | Photo-Fenton | 20 | Total Suspended Solid | mg/l | 632 | 86.67 | 84.2456
Textile Effluent | Photo-Fenton | 20 | Total Solids | mg/l | 3042 | 70.52 | 896.7816
Textile Effluent | Photo-Fenton | 20 | Chloride | mg/l | 299.91 | 61.47 | 115.5553
Textile Effluent | Photo-Fenton | 20 | Sulphate | mg/l | 295 | -1.71 | 300.0445
Textile Effluent | Photo-Fenton | 20 | Chemical Oxygen Demand | mg/l | 4800 | 46.44 | 2570.88
Textile Effluent | Photo-Fenton | 20 | Ammoniacal Nitrogen | mg/l | 8.44 | 73.37 | 2.2476
Textile Effluent | Photo-Fenton | 20 | Nitrate | mg/l | 101.8 | 39.47 | 61.6195
Textile Effluent | Photo-Fenton | 30 | Colour | Pt. Co. | 3462 | 71.25 | 995.325
Textile Effluent | Photo-Fenton | 30 | Turbidity | NTU | 554 | 74.5 | 141.27
Textile Effluent | Photo-Fenton | 30 | Total Dissolved Solid | mg/l | 2410 | 75.39 | 593.101
Textile Effluent | Photo-Fenton | 30 | Total Suspended Solid | mg/l | 632 | 92.72 | 46.0096
Textile Effluent | Photo-Fenton | 30 | Total Solids | mg/l | 3042 | 75.73 | 738.2934
Textile Effluent | Photo-Fenton | 30 | Chloride | mg/l | 299.91 | 63.45 | 109.6171
Textile Effluent | Photo-Fenton | 30 | Sulphate | mg/l | 295 | -3.99 | 306.7705
Textile Effluent | Photo-Fenton | 30 | Chemical Oxygen Demand | mg/l | 4800 | 72.48 | 1320.96
Textile Effluent | Photo-Fenton | 30 | Ammoniacal Nitrogen | mg/l | 8.44 | 76.01 | 2.0248
Textile Effluent | Photo-Fenton | 30 | Nitrate | mg/l | 101.8 | 67.87 | 32.7083
Dye Intermediate | Photo-Fenton | 10 | Colour | Pt. Co. | 1090 | 34.85 | 710.135
Dye Intermediate | Photo-Fenton | 10 | Turbidity | NTU | 188 | 19.34 | 151.6408
Dye Intermediate | Photo-Fenton | 10 | Total Dissolved Solid | mg/l | 3250 | 41.17 | 1911.975
Dye Intermediate | Photo-Fenton | 10 | Total Suspended Solid | mg/l | 146 | 55.65 | 64.751
Dye Intermediate | Photo-Fenton | 10 | Total Solids | mg/l | 3396 | 42.01 | 1969.34
Dye Intermediate | Photo-Fenton | 10 | Chloride | mg/l | 499.85 | 46.42 | 267.8196
Dye Intermediate | Photo-Fenton | 10 | Sulphate | mg/l | 608 | -4.44 | 634.9952
Dye Intermediate | Photo-Fenton | 10 | Chemical Oxygen Demand | mg/l | 8800 | 88.02 | 1054.24
Dye Intermediate | Photo-Fenton | 10 | Ammoniacal Nitrogen | mg/l | 34 | 28.7 | 24.242
Dye Intermediate | Photo-Fenton | 10 | Nitrate | mg/l | 608.8 | 34.9 | 396.3288
Dye Intermediate | Photo-Fenton | 20 | Colour | Pt. Co. | 1090 | 55.14 | 488.974
Dye Intermediate | Photo-Fenton | 20 | Turbidity | NTU | 188 | 44.57 | 104.2084
Dye Intermediate | Photo-Fenton | 20 | Total Dissolved Solid | mg/l | 3250 | 48.43 | 1676.025
Dye Intermediate | Photo-Fenton | 20 | Total Suspended Solid | mg/l | 146 | 73.42 | 38.8068
Dye Intermediate | Photo-Fenton | 20 | Total Solids | mg/l | 3396 | 49.87 | 1702.415
Dye Intermediate | Photo-Fenton | 20 | Chloride | mg/l | 499.85 | 66.32 | 168.3495
Dye Intermediate | Photo-Fenton | 20 | Sulphate | mg/l | 608 | -4.17 | 633.3536
Dye Intermediate | Photo-Fenton | 20 | Chemical Oxygen Demand | mg/l | 8800 | 92.81 | 632.72
Dye Intermediate | Photo-Fenton | 20 | Ammoniacal Nitrogen | mg/l | 34 | 63.59 | 12.3794
Dye Intermediate | Photo-Fenton | 20 | Nitrate | mg/l | 608.8 | 43.56 | 343.6067
Dye Intermediate | Photo-Fenton | 30 | Colour | Pt. Co. | 1090 | 78.88 | 230.208
Dye Intermediate | Photo-Fenton | 30 | Turbidity | NTU | 188 | 74.03 | 48.8236
Dye Intermediate | Photo-Fenton | 30 | Total Dissolved Solid | mg/l | 3250 | 52.99 | 1527.825
Dye Intermediate | Photo-Fenton | 30 | Total Suspended Solid | mg/l | 146 | 94.37 | 8.2198
Dye Intermediate | Photo-Fenton | 30 | Total Solids | mg/l | 3396 | 55.34 | 1516.654
Dye Intermediate | Photo-Fenton | 30 | Chloride | mg/l | 499.85 | 80.52 | 97.3708
Dye Intermediate | Photo-Fenton | 30 | Sulphate | mg/l | 608 | -3.36 | 628.4288
Dye Intermediate | Photo-Fenton | 30 | Chemical Oxygen Demand | mg/l | 8800 | 96.61 | 298.32
Dye Intermediate | Photo-Fenton | 30 | Ammoniacal Nitrogen | mg/l | 34 | 88.39 | 3.9474
Dye Intermediate | Photo-Fenton | 30 | Nitrate | mg/l | 608.8 | 69.81 | 183.7967